PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan gov.ph, E-mail address: bacpangasinan@yahoo.com

December 12, 2024

NOTICE OF NEGOTIATED PROCUREMENT

(Small Value Procurement)

## Project 		:	Renovation of Ground Floor, South Wing, Finance Building

(PR#2024-11-8759)

## Location		: 	Capitol Complex, Lingayen, Pangasinan

Duration 		:	Thirty (30) Calendar Days

Approved Budget for

the Contract (ABC)	:	P 431,558.55

Approved by:

MELICIO F. PATAGUE II

Provincial Administrator

BAC Chairman

Republic of the Philippines

Province of Pangasinan

BIDS AND AWARDS COMMITTEE (BAC)

2ND Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 632 78

Bill of Quantities

| (Columns (1), (2), (3) and (4) are to be filled up by the Procuring Entity) |  |  | (Columns (5) and (6) are to be filled up by the Bidder) |  |  |
| --- | --- | --- | --- | --- | --- |
| Pay Item | Description | Unit | Quantity | Unit Price (Pesos) | Amount (Pesos) |
| (1) | (2) | (3) | (4) | (5) | (6) |
| PART A – OTHER GENERAL REQUIREMENTS |  |  |  |  |  |
| B.5 | Project Billboard/Signboard | l.s. | 1.00 |  |  |
| B.7 | Construction Health and Safety | l.s. | 1.00 |  |  |
| PART B - EARTHWORKS |  |  |  |  |  |
| 801(1) | Removal of Existing Structures | cu.m. | 5.05 |  |  |
| 803 | Structure Excavation | cu.m. | 2.27 |  |  |
| 804(1)a | Backfilling of Excavated Materials (from Excavation) | cu.m. | 1.30 |  |  |
| 804(4) | Gravel Bedding | cu.m. | 0.32 |  |  |
| PART C – PLAIN AND REINFORCED CONCRETE WORK |  |  |  |  |  |
| 900(1)c2 | Structural Concrete | cu.m. | 0.65 |  |  |
| 902(1) | Reinforcing Steel | kgs. | 37.38 |  |  |
| PART D – FINISHING AND OTHER CIVIL WORKS |  |  |  |  |  |
| 1046 | 100mm CHB Non-Loading Bearing/Load Bearing | sq.m. | 25.62 |  |  |
| 1003(2) | Fiber Cement Board on Metal Frame Double Wall Partition | sq.m. | 64.79 |  |  |
| 1027(1) | Cement Plaster Finish | sq.m. | 51.24 |  |  |
| 1032(1)a | Painting Works | sq.m. | 180.83 |  |  |
| 1018(1) | Glazed Tiles and Trims | sq.m. | 26.96 |  |  |
| 1010(2)b | Doors | sq.m. | 9.87 |  |  |
| PART E – PLUMBING WORKS |  |  |  |  |  |
| 1002(5) | Plumbing Fixtures | lot | 1.00 |  |  |
| 1001(8) | Sewerline Works | lot | 1.00 |  |  |
| 1001(1)a | PVC Pipe and Fittings | lot | 1.00 |  |  |
| PART F – ELECTRICAL WORKS |  |  |  |  |  |
| 1100 | Conduits Boxes and Fittings | lot | 1.00 |  |  |
| 1101 | Wires and Wiring Devices | lot | 1.00 |  |  |
| 1102 | Panel Board | set | 1.00 |  |  |
| 1103 | Lighting Fixtures | lot | 1.00 |  |  |
| Total Amount in Words: |  |  |  |  |  |

Submitted By:

_____________________________________________

Name and Signature of Bidder’s Representative

Position : _________________________________________

Name of Bidder: __________________________________

Date: ____________________________________________

Republic of the Philippines

PROVINCE OF PANGASINAN

Bids and Awards Committee

2nd Floor Malong Bldg. Capitol Compound, Lingayen, Pangasinan
Tel. No. (075) 632-7840
website: www.pangasinan.gov.ph
email: bacpangasinan@yahoo.com

| Date : |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Quotation No. : |  |  |  |  |  |  |
| PhilGEPS Reg. No. : |  |  |  |  |  |  |

Please quote your lowest price on the item/s listed below, subject to the General Conditions on the Purchase Request, stating the shortest time of delivery and submit your quotation duly signed by your representative not later than ___________________ in the return envelope attached herewith.

RHODYN LUCHINVAR O. ORO

PDRRM Officer

BAC Secretariat

NOTE:

- ALL ENTRIES MUST BE TYPEWRITTEN.

- CONTACT DURATION ______________ CALENDAR DAYS.

- WARRANTY SHALL BE FOR A PERIOD OF SIX (6) MONTHS FOR SUPPLIES & MATERIALS, ONE (1) YEAR FOR EQUIPMENT, FROM DATE OF ACCEPTANCE BY THE PROCURING ENTITY.

- PRICE VALIDITY SHALL BE FOR A PERIOD OF ______________ CALENDAR DAYS.

- G-EPS REGISTRATION CERTIFICATE SHALL BE ATTACHED UPON SUBMISSION OF THE QUOTATION.

- BIDDER SHALL SUBMIT ORIGINAL BROCHURES SHOWING CERTIFICATIONS OF THE PRODUCT BEING OFFERED.

Name of Project:	Renovation of Ground Floor, South Wing, Finance Building

Location:		Capitol Complex, Lingayen, Pangasinan

ABC:	 		P 451,558.55

| (Columns (1), (2), (3) and (4) are to be filled up by the Procuring Entity) |  |  | (Columns (5) and (6) are to be filled up by the Bidder) |  |  |
| --- | --- | --- | --- | --- | --- |
| Pay Item | Description | Unit | Quantity | Unit Price (Pesos) | Amount (Pesos) |
| (1) | (2) | (3) | (4) | (5) | (6) |
| PART A – OTHER GENERAL REQUIREMENTS |  |  |  |  |  |
| B.5 | Project Billboard/Signboard | l.s. | 1.00 |  |  |
| B.7 | Construction Health and Safety | l.s. | 1.00 |  |  |
| PART B - EARTHWORKS |  |  |  |  |  |
| 801(1) | Removal of Existing Structures | cu.m. | 5.05 |  |  |
| 803 | Structure Excavation | cu.m. | 2.27 |  |  |
| 804(1)a | Backfilling of Excavated Materials (from Excavation) | cu.m. | 1.30 |  |  |
| 804(4) | Gravel Bedding | cu.m. | 0.32 |  |  |
| PART C – PLAIN AND REINFORCED CONCRETE WORK |  |  |  |  |  |
| 900(1)c2 | Structural Concrete | cu.m. | 0.65 |  |  |
| 902(1) | Reinforcing Steel | kgs. | 37.38 |  |  |
| PART D – FINISHING AND OTHER CIVIL WORKS |  |  |  |  |  |
| 1046 | 100mm CHB Non-Loading Bearing/Load Bearing | sq.m. | 25.62 |  |  |
| 1003(2) | Fiber Cement Board on Metal Frame Double Wall Partition | sq.m. | 64.79 |  |  |
| 1027(1) | Cement Plaster Finish | sq.m. | 51.24 |  |  |
| 1032(1)a | Painting Works | sq.m. | 180.83 |  |  |
| 1018(1) | Glazed Tiles and Trims | sq.m. | 26.96 |  |  |
| 1010(2)b | Doors | sq.m. | 9.87 |  |  |
| PART E – PLUMBING WORKS |  |  |  |  |  |
| 1002(5) | Plumbing Fixtures | lot | 1.00 |  |  |
| 1001(8) | Sewerline Works | lot | 1.00 |  |  |
| 1001(1)a | PVC Pipe and Fittings | lot | 1.00 |  |  |
| PART F – ELECTRICAL WORKS |  |  |  |  |  |
| 1100 | Conduits Boxes and Fittings | lot | 1.00 |  |  |
| 1101 | Wires and Wiring Devices | lot | 1.00 |  |  |
| 1102 | Panel Board | set | 1.00 |  |  |
| 1103 | Lighting Fixtures | lot | 1.00 |  |  |
| Total Amount in Words: |  |  |  |  |  |

TOTAL AMOUNT IN FIGURES : 							P____________

TOTAL AMOUNT IN WORDS :	_______________________________________________

_______________________________________________

_______________________________________________

After having carefully read and accepted your General Conditions. I/We quote you on the item at prices noted above.

| _____________________________ |  |
| --- | --- |
| Printed Name/Signature |  |
| _____________________________ |  |
| Tel.No./Cellphone No. |  |
| E-mail Address |  |

Plans / Drawings